TNT IP20 Indoor Logo Projector Technical Parameters

| Model： | TNT-QR-16 |
| --- | --- |
|  | Wattage：16W Luminous Flux:2000LM Gross Weight:1.5kg Inner package size:32*16*14cm Outer package size:61*51*41cm Quantity of outer box:12pcs |
|  | Input Voltage:110V-240V Power adapter /Working Frequency:50-60Hz Light Source Type：Big Power LED Lamp Bead Adaptor:Meanwell APC-16-350 Color Temperature:7000K Life Span:40000h Lamp Color:Black Shell Material: High-quality Aluminum Surface Treatment:Oxidation Cooling Method:High efficient Cold forging heat dissipation Waterproof degree: IP20 indoor use only Light Spot Diameter:Project Distance multiply by 0.35 Install Method:Embedded in ceiling Rifice diameter:75mm |
| Model： | TNT-GD-20 |
|  | Wattage：20W Luminous Flux:2400LM Gross Weight:1.5kg Inner package size:39*24*14cm Outer package size:61*51*41cm Quantity of outer box:8pcs |
|  | Input Voltage:100V-240V Power adapter /Working Frequency:50-60Hz Light Source Type：Big Power LED Lamp Bead Adaptor:Power gear 4cores track Color Temperature:7000K Life Span:40000h / Projection Angle：360° Lamp Color:Black/white optional Shell Material: High-quality Aluminum Surface Treatment:Oxidation Cooling Method:High efficient Cold forging heat dissipation Waterproof degree: IP20 Light Spot Diameter:Project Distance multiply by 0.35 Install Method:install in 4cores rail |

| Model： | TNT-SN-30R |
| --- | --- |
|  | Power：30W Luminous Flux:3600LM Gross Weight:2kg Inner package size:39*24*14cm Outer package size:61*51*41cm Quantity of outer box:8pcs |
|  | Input Voltage:200V-240V Power adapter /Working Frequency:50-60Hz Light Source Type：Big Power LED Lamp Bead Color Temperature:7000K Adaptor：Meanwell APC35-700 Life Span:40000h / Projection Angle：1080° Lamp Color:Black Shell Material: High-quality Aluminum Surface Treatment:Oxidation Cooling Method:High efficient Cold forging heat dissipation Waterproof degree: IP20 Light Spot Diameter:Project Distance multiply by 0.35 Install Method:Surface mounted |